{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":42,"n_cols":5,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[null,null,"system constant"]
[null,null,0.25761562900000001]
[null,null,"Flow rate GPM","rased to power 1.75","System Head loss Ft/Hd"]
[null,null,4,{"$f":"POWER(C7, 1.75)","v":11.313708498984759},{"$f":"D7*$C$5","v":2.9145881312886046}]
[null,null,4.0999999999999996,{"$f":"POWER(C8, 1.75)","v":11.813314041280162},{"$f":"D8*$C$5","v":3.0432943273189208}]
[null,null,4.2,12.322143387807293,3.1743767194781669]
[null,null,4.3,12.840141131152052,3.3078210339505074]
[null,null,4.4000000000000004,13.367253489219554,3.4436134156277403]
[null,null,4.5,13.903428221373046,3.5817404065053688]
[null,null,4.5999999999999996,14.448614550683464,3.7221889256528731]
[null,null,4.7,15.002763091720139,3.8649462506114687]
[null,null,4.8,15.565825783377035,4.010000000089093]
[null,null,4.9000000000000004,16.137755826285293,4.1573381178369004]
[null,null,5,16.718507624410552,4.3069488576038202]
[null,null,5.0999999999999996,17.308036730476886,4.4588207690769064]
[null,null,5.2,17.906299794895624,4.6129426847246071]
[null,null,5.3,18.513254517910635,4.76930370746864]
[null,null,5.4,19.128859604699986,4.927893199117479]
[null,null,5.4999999999999902,19.753074723199656,5.0887007695010809]
[null,null,5.5999999999999899,20.385860464437755,5.2517162662523642]
[null,null,5.6999999999999904,21.027178305186411,5.4169297651857518]
[null,null,5.7999999999999901,21.676990572758516,5.5843315612282556]
[null,null,5.8999999999999897,22.335260411790276,5.7539121598621517]
[null,null,5.9999999999999902,23.00195175286575,5.9256622690421628]
[null,null,6.0999999999999899,23.677029282852093,6.0995727915533609]
[null,null,6.1999999999999904,24.360458416825583,6.275634817778867]
[null,null,6.2999999999999901,25.052205271478485,6.4538396188490461]
[null,null,6.3999999999999897,25.752236639906446,6.6341786401463461]
[null,null,6.4999999999999902,26.460519967684046,6.8166434951419852]
[null,null,6.5999999999999899,27.177023330143758,7.0012259595426594]
[null,null,6.6999999999999904,27.901715410780564,7.1879179657272285]
[null,null,6.7999999999999901,28.634565480709977,7.3767115974547881]
[null,null,6.8999999999999897,29.375543379113797,7.5675990848271866]
[null,null,6.9999999999999902,30.124619494611881,7.7605727994901024]
[null,null,7.0999999999999899,30.881764747503798,7.9556252500582172]
[null,null,7.1999999999999904,31.646950572827794,8.1527490777509435]
[null,null,7.2999999999999901,32.420148904188551,8.3519370522261944]
[null,null,7.3999999999999897,33.201332158308894,8.5531820676006731]
[null,null,7.4999999999999902,33.99047322026356,8.7564771386458524]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}